## MnPavePerm
MnPavePerm
Version 1.1
Developed by P.T. Weiss, M. Kayhanian, J.S. Gulliver, A.J. Erickson, and L. Khazanovich
University of Minnesota
for Minnesota Department of Transportation under Award #99008 wo 99
August 2015
This program is a pre-feasibility support tool to determine if permeable pavement is appropriate. It is based upon a program developed by NCHRP Project 25-25, Hein et al. (2013) and has been adjusted for conditions common to Minnesota. For each Decision Topic below, hover mouse over topic name (e.g., A. Availability of capital funding) for a description and click the appropriate response to select a grade (e.g., A, B, C, or D). When finished, this program is designed to be printed or saved as a PDF on a single 8.5" x 11" sheet of paper.
1. Primary Decision Topics (60 points) | Weight | A | B | C | D | User-Selected Grade | Topic score
|  | Highly Favorable | Moderately favorable | Less favorable | Not favorable
A. Availability of capital funding | 12 | [6 empty] | 0
B. Status of environmental approval | 12 | [6 empty] | 0
C. Safety | 6 | [6 empty] | 0
D. Longitudinal grades | 6 | [6 empty] | 0
E. Depth of water table | 12 | [6 empty] | 0
F. Geotechnical risks | 6 | [6 empty] | 0
G. Groundwater contamination risk | 6 | [6 empty] | 0
[6 empty] | Primary Decision Topic Score (out of 60) = | 0
2. Secondary Decision Topics (30 points) | Weight | A | B | C | D | User-Selected Grade | Topic score
|  | Highly Favorable | Moderately favorable | Less favorable | Not favorable
A. Receiving water quality standards | 3 | [6 empty] | 0
B. Sand use for winter maintenance | 3 | [6 empty] | 0
C. Soil infiltration rates | 3 | [6 empty] | 0
D. Target design volumes and runoff rates | 3 | [6 empty] | 0
E. Complexity of geometric conditions | 3 | [6 empty] | 0
F. Risk of flooding | 3 | [6 empty] | 0
G. Mandates for stormwater quality control | 3 | [6 empty] | 0
H. Mandates for drainage and peak flow control | 3 | [6 empty] | 0
I. Maintenance protocols | 3 | [6 empty] | 0
J. Road shoulder utilization | 3 | [6 empty] | 0
[6 empty] | Secondary weighted score (out of 30) = | 0
3. Tertiary Decision Topics (10 points) | Weight | A | B | C | D | User-Selected Grade | Topic score
|  | Highly Favorable | Moderately favorable | Less favorable | Not favorable
A. Interest in innovation | 2 | [6 empty] | 0
B. Presence of utilities and other underground constraints | 2 | [6 empty] | 0
C. Impact of unknown site conditions | 2 | [6 empty] | 0
D. Risk of accidental chemical spill | 2 | [6 empty] | 0
E. Owner experience and resources | 2 | [6 empty] | 0
[6 empty] | Tertiary weighted score (out of 10) = | 0
|  | Final Decision Score | Decision
|  | 0 – 65 | No |  | Final Decision Score = |  | 0
|  | 65 – 75 | Maybe
|  | 75 – 100 | Yes | Were all Topics graded "C" or better? |  |  | Yes
Final Decision: No; implementation of permeable pavements is likely infeasible.
A: Project funded; requirement to implement
B: Need to justify funding
C: No specific funding available; no requirement to implement
A: Approved
B: Approval Pending
C: Application Required
A: Minimal safety issues
B: Safety issues can be addressed
C: Significant safety issues
A: Grades < 2 percent
B: Grades of 2 to 5 percent
C: Grades >5 percent
A: Low complexity
B: Medium complexity
C: High complexity
A: Water table > 1.5 m (5 ft) below subgrade
B: Water table 1-1.5 m (3-5 ft) below subgrade
C: Water table 0.6-1 m (2-3 ft) below subgrade
D: Water table <0.6 m (2ft) below subgrade
A: Low risk
B: Elevated Risk
C: High Risk
A: Regulations in place
B: Limited Restriction
C: No Restriction
A: No sand use
B: Used < 2 times/year
C: Used > 2 times/year
A: Infiltration > 40 mm/hr (1.5 in/hr)
B: Infiltration = 12 – 40 mm/hr (0.5 – 1.5 in/hr)
C: Infiltration < 12 mm/hr (0.5 in/hr)
A: Frequent/non-intense storm
B: Moderate frequency/intensity
C: Intense storms
A: No restrictions
B: Minimal challenges
C: Moderate challenges
D: Significant restrictions prohibit implementation
A: None
B: Occasional
C: Frequent
A: High water quality concerns
B: Some water quality concerns
C: No water quality concerns
A: High stormwater management concerns
B: Some stormwater management concerns
C: No stormwater management concerns
A: Proactive maintenance
B: Reactive maintenance
C: Minimal maintenance
A: Use for emergency stopping only
B: Occasional use for traffic
C: Regular use by traffic
A: Innovation encouraged
B: Limited innovation interest
C: Minimal innovation interest
A: None
B: Non-critical utilities
C: Critical utilities
A: Site conditions well known
B: Some site information available
C: No site specific information available
A: Minimum risk of spills and groundwater contamination
B: Moderate risk of spills and groundwater contamination
C: High risk of spills and groundwater contamination
D: Zero tolerance for risk of spills and groundwater contamination
A: Significant owner experience
B: Limited owner experience
C: No owner experience
D: Well head protection area
D: No maintenance capability
Note on A12: The initial capital construction cost of permeable pavement is typically higher than conventional pavement. Long term life-cycle costs can be competitive when consideration is given to stormwater quality and volume reduction benefits and the costs of constructing and maintaining other stormwater treatment facilities in the right-of-way.
Note on A13: In some jurisdictions, permeable pavement may not be permitted or may require additional environmental approvals. On the other hand, desirability for stormwater quality and quantity management can drive regulatory acceptance of and even advocacy for permeable pavements.
Note on A14: Permeable pavement will often increase tire traction. In addition, the ability to accommodate safety features such as rumble strips, vegetative growth, etc. should be considered.
Note on A15: Grades of more than 5 percent may pose significant design challenges. A stone reservoir with a sloped base may be less effective at promoting infiltration than a flat reservoir. Significant longitudinal grades may increase design and implementation costs due to features such as regular cut-off walls or below grade shallow slopes with step-downs to provide the needed level of infiltration.
Note on A16: Permeable pavements should not be used in areas where the water table is within 0.6 m (2 ft) of the top of the soil subgrade. Although a subdrain system can be added to drain the water, the implementation may be cost prohibitive.
Note on A17: Depending on site-specific conditions, infiltrated water may pose geotechnical risks, such as reduced subgrade support, slope instability, scouring, etc. In Karst areas, increased below-ground infiltration may cause sink holes. Geotechnical risks may introduce added design complexity and may require the use of an underdrain and/or impermeable liner.
Note on A18: A variety of factors influence the potential for stormwater sources to contaminate groundwater, including soil characteristics, depth to groundwater, traffic volume, existing soil contamination, and application of deicing agents. Where there is elevated potential for contamination, design features may be included or required to mitigate this risk, including subgrade soil amendment with absorbent materials, use of an underdrain, and/or an impermeable liner.
Note on A23: While the presence of and need to protect nearby aquatic resources may provide incentives for the use of permeable pavements, for some protected watersheds, cold water streams, and other receiving waters with stringent water quality standards, the level of treatment provided by permeable pavements (for water discharged from underdrains) may not provide adequate protection from stormwater quality impacts. In cases where infiltration is not feasible, permeable pavements with underdrains may need to be coupled with an additional treatment system. In such a case, permeable pavements may not provide sufficient benefit to justify their use.
Note on A24: Winter sand may clog permeable pavement systems resulting in reduced infiltration capacity. Also potential pollution in sand may contribute to groundwater contamination.
Note on A25: Soil infiltration rates influence performance of permeable pavements for volume and peak flow reduction. Low soil infiltration rates may need to be supplemented with an underdrain to provide adequate drainage, which tends to reduce performance and increase costs compared to conditions where infiltration rates are adequate to support a design without underdrains.
Note on A26: Due to geometric factors, permeable pavements may be limited in terms of how much volume they can store and the maximum rate of sheet flow from travel lanes that can be captured in the permeable pavement. Where target design volumes or intensities are large in comparison to available space, permeable pavements may have a reduced effectiveness. A site-specific hydrologic analysis based on site rainfall patterns, roadway geometry (i.e., number of lanes vs. shoulder area), stormwater management goals (i.e., long term volume control vs. peak event mitigation) is recommended to evaluate whether permeable pavements would be suitable for meeting design goals.
Note on A27: Geometric constraints such as presence of bridge structures, curbs, retaining walls, guiderails, etc.
Note on A28: Permeable pavements may not be capable of conveying flows from peak storm events. Areas subject to frequent roadway flooding may require supplemental drainage features to ensure that the roadway surface is properly drained; however, it is likely that such drainage features would be required with or without the use of impermeable surfaces. If the permeable pavement is located within an area subject to flooding (e.g., floodplain), additional consideration should be given to increased clogging caused by flood events.
Note on A29: Permeable pavements may contribute to water quality improvement. Where regulations are in place requiring stormwater quality management, there may be additional incentive to the use permeable pavements.
Note on A30: Permeable pavements may provide alternative stormwater management for peak flow control.
Note on A31: In order to maintain their effectiveness, permeable pavement systems require maintenance practices such as vacuum sweeping, etc. Significant tree litter, local erosion, or proximity to unpaved roads may require proactive maintenance.
Note on A32: Some road shoulders may be used as driving lanes for specific conditions or circumstances such as evacuation routes, rush hour traffic, pullovers for passing, high occupancy vehicle routes, emergency vehicles, etc. Design of permeable road shoulders with moderate to heavy traffic usage would require additional considerations and additional costs.
Note on A37: Entities considering permeable pavement may have an interest in innovation. Utilizing permeable pavement will provide an innovative stormwater control measure.
Note on A38: The design and construction of permeable pavements may require additional design features, such as cutoff walls, in areas where utilities or underground structures are present.
Note on A39: Variability of soil conditions, presence of organics, potential for frost heave, etc. may impact permeable pavement performance.
Note on A40: In certain areas there might be high level of chemical transport that may increase the occurrence of accidental chemicals spills on permeable pavement surfaces, which will increase the risk of groundwater contamination. A chemical spill will increase the complexity and cost of clean up.
Note on A41: Limited owner experience in implementing permeable pavement projects increases uncertainty and risk.